## Slide 1
Deep-learning-based dynamic optical coherence tomography
D1 劉雨松 (Liu Yusong)
指導教員：安野 嘉晃 副指導教員：伊藤 雅英
11th July 2024

## Slide 2
Optical coherence tomography (OCT)
OCT is low-coherence interferometry with
Label-free
High- penetration
High-resolution
Notes: Optical coherence tomography, OCT is a low coherence interferometry
Compared with some other imaging modalities,
OCT has the advantage of label-free, high-penetration, and high resolution.

## Slide 3
OCT and dynamic OCT (DOCT)
Mouse liver
Organoids
Standard OCT
DOCT
Tumor spheroids
Mouse tongue
Optics Letters 45, 4766–4769 (2020)
Biomedical Optics Express 13, 4071–4086 (2022)
Biomedical Optics Express 14, 2333–2351 (2023)
Biomedical Optics Express 11, 6231–6248 (2020)
Morphological structure
Intracellular motility, (i.e., tissue dynamics)
Notes: Standard OCT visualizes the three-dimensional morphological structure of the sample.
Based on the standard OCT, recently, dynamic OCT. DOCT has been proposed for the assessment of intracellular motility of tissues. Namely, the tissue dynamics.

## Slide 4
OCT and DOCT
Standard OCT
Repeated scanning at the same tissue location
Signal processing to extract temporal fluctuation
DOCT images
Tens to thousands of frames at same location
t
……
signal fluctuation-magnitude analysis
Fluctuation speed analysis
Time-frequency analyses
……
Notes: For obtaining the DOCT images, typically, we need to use the standard OCT device to scan the same tissue locations for several times.
Based on the Tens to Hundreds frames,
by using some signal processing methods,
we can analyze the signal fluctuation, hence assess the tissue dynamics.
Till now, several algorithms have been proposed.
Including …

## Slide 5
Complication of DOCT
The long acquisition time, harms high throughput imaging, which is important for some applications such as drug screening.
We require high-speed volumetric DOCT imaging.
Can we reduce the number of frames for
DOCT generation?
Notes: Although the DOCT is successful, it has some limitations.
Because we need to scan many frames at each single location, the acquisition time of DOCT is very long.
That harms the further application of DOCT. For example, the drug screening and the unstable sample imaging.
So, we require the …
The question is whether we can reduce the number of frames for DOCT generation?

## Slide 6
What we did
Based on a small number of frames, we use neural network to compute two types of DOCT images.
1. Logarithmic intensity variance (LIV) which senses to the magnitude of fluctuation
2. Amplitude spectral DOCT (AS-DOCT) which senses to the frequency of fluctuation
Notes: In this study, we aim to accelate the DOCT imageing to realize high-speed DOCT.
We used ///

## Slide 7
DOCT: Logarithmic intensity variance (LIV)
Notes: First, let me start from the LIV

## Slide 8
LIV
I. Abd El-Sadek, Biomed. Opt. Express 11(11), 6231 (2020).
IdB: dB-scaled OCT intensity
x, z: Coordinate along the fast scan and depth direction
n: n-th OCT frame
N: Total number of frames for LIV computation
LIV senses to the magnitude of OCT intensity fluctuation and has been used for tissue metabolism activity investigation.
LIV is the variance of logarithmic-scale OCT signal among N (typically 32) frames.
The volumetric acquisition time of LIV is 52.4 s.

## Slide 9
NN architecture for LIV generation

## Slide 10
NN training process
Training Samples: 36 breast cancer (MCF-7) spheroids and 36 colon cancer (HT-29) spheroids.
Validation samples: 12 breast cancer (MCF-7) spheroids and 12 colon cancer (HT-29) spheroids.

## Slide 11
LIV images of breast cancer spheroid
En face cross section
10
0
LIV
[dB²]
32-frame conventional LIV
(Ground truth)
4-frame NN-based LIV
(Proposed)
4-frame conventional LIV
(Reference)
200 µm

## Slide 12
LIV images of colon cancer spheroid
En face cross section
200 µm
10
0
LIV
[dB²]
32-frame conventional LIV
(Ground truth)
4-frame NN-based LIV
(Proposed)
4-frame conventional LIV
(Reference)

## Slide 13
Quantitative analysis methods
I. Abd El-Sadek, Biomed. Opt. Express 11(11), 6231 (2020).
I. A. El-Sadek, Biomed. Opt. Express 12(11), 6844 (2021).
1. Mean LIV among the whole tumor spheroid volume
2. Viable cell ratio (VCR) of the whole tumor spheroid volume
24 cancer spheroids

## Slide 14
Evaluation metrics based on three types of LIV images
Mean LIV of ground truth [dB²]
Mean LIV [dB²]
4-frame
NN-based LIV
4-frame
conventional LIV
Ideal line
Viable cell ratio
(VCR))
VCR
VCR of ground truth
Intraclass correlation coefficients (ICC)

## Slide 15
Agreement based statistical analysis
1
0.9
0.75
0.9
0.5
Excellent
Good
Moderate
Poor
0
-0.1
Mean LIV of tumor spheroid
Viable cell ratio of tumor spheroid
4-frame NN-based LIV
vs
32-frame conventional LIV
4-frame conventional LIV
vs
32-frame conventional LIV
ICC
Yellow middle line: ICC
Error bar: 95% confidence interval of ICC
Intraclass correlation coefficients (ICC)

## Slide 16
NN-based LIV from practical measurement
En face cross section
200 µm
10
0
LIV
[dB²]
32-frame conventional LIV
(Ground truth)
4-frame NN-based LIV
(Proposed)
4-frame conventional LIV
(Reference)
52.4 s
6.55 s
6.55 s
Breast cancer spheroid

## Slide 17
DOCT: Amplitude spectral DOCT (AS-DOCT)

## Slide 18
AS-DOCT
512 frames of OCT images
Fourier transform along the temporal axis
Amplitude spectrum
[0 – 0.6 Hz]
[0.6 – 5 Hz]
[5 – 25 Hz]
Integration of each channel
Amplitude spectral DOCT image
The requirement of hundreds of frames per location makes it
unrealistic for the volumetric acquisition (around 1 hour per volume).
Three-channel images
Low frequency
Moderate frequency
High frequency
AS-DOCT senses to the frequency of the intracellular motility.

## Slide 19
NN architecture for AS-DOCT generation
Extract the temporal feature

## Slide 20
NN training process
Training Samples: 174 cancer spheroids
Validation samples: 19 cancer spheroids

## Slide 21
NN-generated Ground truth
200 µm
In vitro breast cancer spheroid
0.6 - 5 Hz
5 - 25 Hz
0 - 0.6 Hz
RGB
Low fre. (blue)
Moderate fre. (green)
High fre. (red)

## Slide 22
In vitro colon cancer spheroid
NN-generated Ground truth
200 µm
RGB
Low fre. (blue)
Moderate fre. (green)
High fre. (red)
0.6 - 5 Hz
5 - 25 Hz
0 - 0.6 Hz

## Slide 23
NN-AS-DOCT (practical measurement) : In vivo zebrafish
En face Cross-section
200 µm
0.6 - 5 Hz
5 - 25 Hz
0 - 0.6 Hz
Zebrafish 1
Zebrafish 2
Zebrafish 3

## Slide 24
Conclusion

## Slide 25
Conclusion
We demonstrated using neural networks to generate two type of DOCT images from fewer OCT frames.
The NN-based DOCT and conventional DOCT images show high resemblance.
The NN-based algorithm shows the potential for realizing the high-speed DOCT imaging.